## pH-Potential calibration
pH-Potential difference (V) calibrations
2023-02-07
pH | Voltage (mV)
4 | 167
7 | -7
10 | -177
12 | -290
LINEST linear regression analysis
slope | intercept | -57.0952 | 394.2857
se(slope) | se(intercept) | 0.25198 | 2.2147
r^2 | se(y) | 0.99996 | 1.5275
F | df | 51342.8929 | 2
ss reg | ss resid | 119800.0833 | 4.6667
experiment 1
pH needed | 7.5
Potential needed | -33.9286
pH meaured | -34
Potential measured | 7.5013
5 drops of H2So4

## Calibration standard
Calibration standards |  |  |  | Calibration standards
2023-02-07 |  |  |  | 2021-05-12
At 16:53 |  |  |  | At 16:53
| Conc (μM) | Abs | Corrected Abs |  | Conc (μM) | Abs | Corrected Abs
s0b | 0 | 0.062 | 0 | s0b | 0 | 0.062 | 0
S1b | 10 | 0.322 | 0.26 | S1b | 10 | 0.322 | 0.26
S2b | 20 | 0.613 | 0.551 | S2b | 20 | 0.613 | 0.551
S3b | 30 | 0.869 | 0.807 | S3b | 30 | 0.869 | 0.807
S4b | 40 | 1.123 | 1.061 | S4b | 40 | 1.123 | 1.061
S5b | 50 | 1.338 | 1.276 | S5b | 50 | 1.338 | 1.276
LINEST linear regression analysis
|  |  |  | slope | intercept | 0.026195 | 0
|  |  |  | se(slope) | se(intercept) | 0.00030144 | #N/A
|  |  |  | r^2 | se(y) | 0.99934 | 0.022355
|  |  |  | F | df | 7551.2111 | 5
LINEST linear regression analysis |  |  |  | ss reg | ss resid | 3.7738 | 0.0024988
slope | intercept | 0.025826 | 0.013524
se(slope) | se(intercept) | 0.00055416 | 0.016778 | Detection limit (DTL)
r^2 | se(y) | 0.99816 | 0.023182 |  | Abs | Conc (μM)
F | df | 2171.8493 | 4 | 1 | 0.04 | 1.527
ss reg | ss resid | 1.1672 | 0.0021497 | 2 | 0.04 | 1.527
relative error = (1/ln10)*(se(slope)/slope) |  | -0.009319 |  | 3 | 0.045 | 1.7179
|  |  |  | 4 | 0.045 | 1.7179
|  |  |  | 5 | 0.045 | 1.7179
|  |  |  | 6 | 0.044 | 1.6797
|  |  |  | 7 | 0.044 | 1.6797
1 | 0.04 |  |  | 8 | 0.044 | 1.6797
2 | 0.04 |  |  | 9 | 0.044 | 1.6797
3 | 0.045 |  |  | 10 | 0.044 | 1.6797
4 | 0.045 |  |  | average | 0.0435 | 1.6607
5 | 0.044 |  |  | SD |  | 0.072545
6 | 0.044 |  |  | DTL |  | 0.13105
7 | 0.044
8 | 0.044
9 | 0.044
10 | 0.044

## Result
| Experiment 1 | [Fe] |  | 47.3709 | uM | [5 empty] | LINEST linear regression analysis
|  | pH |  | 7.4802 | [6 empty] | slope | intercept | -0.025887 | 34.8266
| Time | Time (seconds) | time | Abs | Corrected Abs | [Fe2+] (uM) | In[Fe2+] | potential measured | pH calculated | % [Fe]t/[Fe]0 | se(slope) | se(intercept) | 0.002567 | 0.1876
0 | [10 empty] | r^2 | se(y) | 0.98071 | 0.21604
1 | 0.12 | 12 | 0 | 0.943 | 0.8995 | 34.3392 | 3.5363 | -33 | 7.4837 | 100 | F | df | 101.696 | 2
2 | 0.37 | 37 | 25 | 0.933 | 0.8895 | 33.9575 | 3.5251 | -33 | 7.4837 | 98.8883 | ss reg | ss resid | 4.7463 | 0.093343
3 | 1.05 | 65 | 53 | 0.917 | 0.8735 | 33.3466 | 3.507 | -33 | 7.4837 | 97.1095
4 | 2.05 | 125 | 113 | 0.868 | 0.8245 | 31.476 | 3.4492 | -33 | 7.4837 | 91.662
5 | 3.04 | 184 | 172 | 0.786 | 0.7425 | 28.3456 | 3.3445 | -33 | 7.4837 | 82.5459
6 | 4.1 | 250 | 238 | 0.672 | 0.6285 | 23.9935 | 3.1778 | -33 | 7.4837 | 69.8722
7 | 5.13 | 313 | 301 | 0.544 | 0.5005 | 19.107 | 2.9501 | -33 | 7.4837 | 55.642
8 | 6.1 | 370 | 358 | 0.43 | 0.3865 | 14.755 | 2.6916 | -33 | 7.4837 | 42.9683
9 | 7.08 | 428 | 416 | 0.338 | 0.2945 | 11.2428 | 2.4197 | -32 | 7.4662 | 32.7404
10 | 8.12 | 492 | 480 | 0.252 | 0.2085 | 7.9597 | 2.0744 | -32 | 7.4662 | 23.1795
| Experiment 2 | [Fe] |  | 37.9147 | uM | [5 empty] | LINEST linear regression analysis
|  | pH |  | 7.4853 | [6 empty] | slope | intercept | -0.021667 | 27.8895
| Time | Time (seconds) |  | Abs | Corrected Abs | [Fe2+] (uM) | In[Fe2+] | potential measured | pH calculated | % [Fe]t/[Fe]0 | se(slope) | se(intercept) | 0.0017871 | 0.072622
0 | Expected | [6 empty] | -34 | 7.5013 |  | r^2 | se(y) | 0.99324 | 0.06213
1 | 0.12 | 12 |  | 0.768 | 0.7245 | 27.6584 | 3.3199 | -33 | 7.4837 | 100 | F | df | 147 | 1
2 | 0.33 | 33 |  | 0.754 | 0.7105 | 27.124 | 3.3004 | -33 | 7.4837 | 98.0676 | ss reg | ss resid | 0.56744 | 0.0038601
3 | 1.01 | 61 |  | 0.74 | 0.6965 | 26.5895 | 3.2805 | -33 | 7.4837 | 96.1353
4 | 2.1 | 130 |  | 0.695 | 0.6515 | 24.8716 | 3.2137 | -33 | 7.4837 | 89.9241
5 | 3.03 | 183 |  | 0.649 | 0.6055 | 23.1155 | 3.1405 | -33 | 7.4837 | 83.5749
6 | 4.11 | 251 |  | 0.569 | 0.5255 | 20.0614 | 2.9988 | -33 | 7.4837 | 72.5328
7 | 5.05 | 305 |  | 0.502 | 0.4585 | 17.5036 | 2.8624 | -33 | 7.4837 | 63.285
8 | 6.02 | 362 |  | 0.423 | 0.3795 | 14.4877 | 2.6733 | -33 | 7.4837 | 52.381
9 | 7.04 | 424 |  | 0.346 | 0.3025 | 11.5482 | 2.4465 | -33 | 7.4837 | 41.7529
10 | 8.01 | 481 |  | 0.277 | 0.2335 | 8.9141 | 2.1876 | -33 | 7.4837 | 32.2291
| Experiment 3 | [Fe] |  | 28.436 | uM | [5 empty] | LINEST linear regression analysis
|  | pH |  | 7.4853 | [6 empty] | slope | intercept | -0.015699 | 20.8053
| Time | Time (seconds) |  | Abs | Corrected Abs | [Fe2+] (uM) | In[Fe2+] | potential measured | pH calculated | % [Fe]t/[Fe]0 | se(slope) | se(intercept) | 0.0024543 | 0.17213
0 | Expected | 0 | [5 empty] | -34 | 7.5013 |  | r^2 | se(y) | 0.95339 | 0.20395
1 | 0.13 | 13 |  | 0.586 | 0.5425 | 20.7104 | 3.0306 | -33 | 7.4837 | 100 | F | df | 40.9133 | 2
2 | 0.3 | 30 |  | 0.577 | 0.5335 | 20.3668 | 3.0139 | -33 | 7.4837 | 98.341 | ss reg | ss resid | 1.7018 | 0.083189
3 | 1.01 | 61 |  | 0.557 | 0.5135 | 19.6033 | 2.9757 | -33 | 7.4837 | 94.6544
4 | 2.02 | 122 |  | 0.541 | 0.4975 | 18.9925 | 2.944 | -33 | 7.4837 | 91.7051
5 | 3.04 | 184 |  | 0.502 | 0.4585 | 17.5036 | 2.8624 | -33 | 7.4837 | 84.5161
6 | 4.01 | 241 |  | 0.461 | 0.4175 | 15.9384 | 2.7687 | -33 | 7.4837 | 76.9585
7 | 5.11 | 311 |  | 0.406 | 0.3625 | 13.8388 | 2.6275 | -33 | 7.4837 | 66.8203
8 | 6.03 | 363 |  | 0.359 | 0.3155 | 12.0445 | 2.4886 | -33 | 7.4837 | 58.1567
9 | 7.04 | 424 |  | 0.312 | 0.2685 | 10.2502 | 2.3273 | -33 | 7.4837 | 49.4931
10 | 8.03 | 483 |  | 0.268 | 0.2245 | 8.5705 | 2.1483 | -33 | 7.4837 | 41.3825
| Experiment 4 | [Fe] |  | 18.9573 | uM | [5 empty] | LINEST linear regression analysis
|  | pH |  | 7.5013 | [6 empty] | slope | intercept | -0.0012586 | 2.6661
| Time | Time (seconds) |  | Abs | Corrected Abs | [Fe2+] (uM) | In[Fe2+] | potential measured | pH calculated | % [Fe]t/[Fe]0 | se(slope) | se(intercept) | 8.2336e-05 | 0.022625
0 | Expected | 0 | [5 empty] | -34 | 7.5013 |  | r^2 | se(y) | 0.9669 | 0.041514
1 | 0.11 | 11 |  | 0.401 | 0.3575 | 13.6479 | 2.6136 | -34 | 7.5013 | 100 | F | df | 233.6763 | 8
2 | 0.36 | 36 |  | 0.391 | 0.3475 | 13.2661 | 2.5852 | -34 | 7.5013 | 97.2028 | ss reg | ss resid | 0.40272 | 0.013787
3 | 1.02 | 62 |  | 0.39 | 0.3465 | 13.2279 | 2.5823 | -34 | 7.5013 | 96.9231
4 | 2.04 | 124 |  | 0.37 | 0.3265 | 12.4644 | 2.5229 | -34 | 7.5013 | 91.3287
5 | 3 | 180 |  | 0.357 | 0.3135 | 11.9681 | 2.4822 | -34 | 7.5013 | 87.6923
6 | 4.05 | 245 |  | 0.331 | 0.2875 | 10.9756 | 2.3957 | -34 | 7.5013 | 80.4196
7 | 5.03 | 303 |  | 0.313 | 0.2695 | 10.2884 | 2.331 | -34 | 7.5013 | 75.3846
8 | 6.1 | 370 |  | 0.284 | 0.2405 | 9.1813 | 2.2172 | -34 | 7.5013 | 67.2727
9 | 7.02 | 422 |  | 0.264 | 0.2205 | 8.4178 | 2.1303 | -34 | 7.5013 | 61.6783
10 | 8.045 | 485 |  | 0.234 | 0.1905 | 7.2725 | 1.9841 | -34 | 7.5013 | 53.2867